OPOP, LLC

Zašovská 750, 757 01 Valašské Meziříčí

Tel.: 571 675 589, fax: 571 611 225

WATER HEATER H 425 EKO

Content

1.     Introduction							  2

2.     Characteristics of the water heater					  2

3.     Technical description					                  2

4.     Technical parameters 						  6

5.     List of replaceable parts		 				  9

6.     List of supplied accessories 					10

7.     Assembly of basic accessories 					10

8.     Water heater operation						12

8.1   Starting the fire						12

8.2   Stoking and opening the ash doors 				12

8.3   Ash removal							13

8.4   Cleaning the water heater                                                                             13

### 9.     Maintaining the water heater and the heating apparatus		14

10.   Safety instructions for the assembly and operation of the water heater  	15

10.1 Assembly and setup of the draft regulator				16

10.2 Assembly of the discharge valve 					16

10.3 Connecting to the chimney					16

10.4 Sorting construction products and structures based on their reaction

to fire						 		17

10.5 Water heater location – important warnings                                                18

10.6 Instructions for assembling and using pressurized expansion containers 	18

10.7 Connecting the water heater to a protection device against overheating  	19

10.8 Safety instructions for the water heater operation			21

### 11.   Waste removal						23

### 12.   Determining the size of the accumulation reservoir			24

13.   Malfunction measures						24

# 14.   Safety and other regulations					25

15.   Warranty card							26

1. INTRODUCTION

Dear customer:

We appreciate very much that you have chosen a product from our production line and become therefore one of our customers. We believe you will be fully satisfied with our product. We hope that the product will prove to be reliable and will serve you for a long time. All employees of our company have contributed to it and now you can participate in the process too - by careful reading the manual and by complying with all prescribed rules and regulations.

OPOP, LLC

2 . CHARACTERISTICS OF THE WATER HEATER

The design and surface of the steel water heater of the H4xx EKO line are designated for individual and central heating of family houses or suitable production facilities with a maximum hydrostatic height of the heating water of 20 m. The H425 EKO water heater is designed for burning solid fuels, i.e. brown coal and wood (burning other materials, for example, plastic, is not acceptable!). The boiler has to be connected to a chimney that corresponds to the power output of the boiler. Besides a professional installation and correct service, a good performance of the boiler requires a sufficient draft. This boiler was certified by the Machinery Testing Institute in Brno in accordance with ČSN EN 303-5.

3. TechnicAL DESCRIPTION

The upper part of the boiler is formed by an insulation cover, which significantly contributes to the overall thermal insulation and, at the same time, preheats air that enters the boiler via the valve in the stoking door. Under this cover, there is the already mentioned stoking door, which is attached to the weldment by a pin system. The cleaning door is attached to the weldment by butterfly nuts. All types of doors are sealed to the boiler body by a thermal insulation cord. The actual boiler body is welded from steel plates. The boiler is completely insulated (including the inside bottom part) against thermal leaks to the surroundings, which significantly influences its efficiency.

When looking from the above, the boiler body is divided by water partitions into three parts:

a) The front area behind the boiler head wall is formed by a feeding shaft with a cast-iron, sliding grate.

b) The middle part forms the burning area, padded with a fireclay lining and a stainless steel pipe, through which about 40% of secondary air flows. The remaining 60% of the air flows through two side openings, located immediately under the first water plate.

c) The rear part of the boiler is formed by a reverse draft, where the combustion products flow under the bottom part of the last partition and rise to the smoke hub. In the upper part of this area, there is a sliding stoking valve, which allows for a direct draft of the combustion products into the smoke hub when initially making fire.

The furnace chamber consists of a slanting and sliding cascade cast-iron grate. These grates are controlled by the grate lever on the side of the boiler. The volume of incoming secondary air can be mechanically adjusted (in the case of the H425 EKO water heater) by revolving valves located on both sides of the boiler.

Setting up secondary air flow for brown coal (nut 1):

Under normal operation with nominal power output and when using brown coal (fossil fuel), the valves are open as it is showed on Picture A. It means that the handles of both revolving valves (left and right side) are in the position that they point exactly towards the marked line.

Picture A

Setting up secondary air flow for wood (maximum length of 39 cm):

Under normal operation with nominal power output and when using wood (biological fuel), the valves are open as it is showed on Picture B. It means that the handles of both revolving valves (left and right side) are in the maximum opening position.

Picture B

Note

- A great advantage of the perfect burning of this boiler is the fact that the secondary air, which we can regulate by the above mentioned revolving valves, is preheated! Preheating takes place in the air chamber, which forms a part of the boiler body. It means that the air that enters the fire chamber and the area between the partitions does not have the temperature of the surrounding environment (usually 10-20°C) but rather a temperature that oscillates around 80-90°C. This system significantly contributes to the prevention of tarring and prolongs the lifespan of the boiler body.

- The fireclay lining is important for a perfect combustion of burnt gases (works as a “catalytic convertor”). Because of that, this boiler produces very low emissions. Furthermore, the lining accumulates heat and is therefore able to transmit heat to the heating system even after all the fuels are burnt.

On the bottom part of the front wall, there is an ash door, which secures the needed intake of primary air to the combustion chamber. The ash door is equipped with a manually controlled opening for regulating the volume of incoming primary air. Under normal operation with nominal power output and when using brown coal and wood, the revolving opening is always in the same position. This position is marked by a line for an easy orientation – see Picture C. The power output of the boiler can be increased by making the opening gradually bigger.

Picture C

The mouthpiece for adding water as well as the smoke hub are located on the center axis of the rear part of the boiler. The mouthpiece for water output is moved sideways from the center axis by 140 mm. The upper part includes a G3/4" mouthpiece for attaching the regulator of combustion air and a G1/2" mouthpiece for attaching a sensor of the overheating fuse device. The bottom part has a G1/2" mouthpiece for the discharging and feeding valve.

Boiler walls are thermally insulated by a 40-mm layer of mineral wool and covered with treated cover plates. The stoking, cleaning and ash doors are made of sheet-metal, surface-treated parts and they are thermally insulated as well. The front cover plate is furnished by the following informative measurement devices for monitoring temperature and pressure of the heating water inside of the boiler:

Capillary thermometer TCS 48 (technical data – scale range: 0 to 120 °C; measuring range: 20 to 100 °C; accuracy: ±4% of the scale range)

Manometer MCS 48 (technical data - scale range: 0-4 bars; scale divisions: 0.1 bars; accuracy: ±2.5% of the scale range)

4 . TECHNICAL PARAMETERS

Table 1

| WATER HEATER H425 EKO |
| --- |
| Parameter name | Unit | Coal | Wood |
| Operational draft - prescribed | Pa | 22 |
| Operational draft - minimal | Pa | 15 |
| Nominal heat output | [kW] | 25 | 22 |
| Efficiency | [%] | 79.4 | 79.3 |
| Boiler class pursuant to ČSN EN 303-5 |  | 3 | 3 |
| Guaranteed fuels | - | Brown coal nut 1 | Split hardwood, length up to 39 cm, humidity up to 20% |
| Water volume | [ l ] | 41 |
| Flue diameter | [mm] | 150 |
| Fuel consumption | [kg/hour] | 4.2 | 6.0 |
| Temperature range of heating water | [°C] | 65 - 90 | 65 - 90 |
| Volume of the fuel shaft | [ l ] | 55 |
| Dimensions of the stoking opening | [mm] | 176 x 405 |
| Heating area | [m2] | 2.3 |
| Temperature of burnt gases under nominal heat output | [°C] | 303 | 265 |
| Maximal excess pressure of heating water | [MPa] | 0.2 |
| Testing excess pressure of heating water | [MPa] | 0.4 |
| Weight flow of burnt gases under nominal output | [kg/s] | 0.016 | 0.015 |
| Combustion time under nominal output | [h] | >4 | >2 |
| Hydraulic loss under DT= 20/10 K | [mbar] | 1.1 – 4.8 |
| Volume of the accumulation reservoir* | [l] | 1,050 | 462 |

Table 2

| WATER HEATER H425 EKO |
| --- |
| Boiler weight | [kg] | 245 |
| Mouthpiece type output / input (internal thread) | Js | G1 1/2" |
| Cooling loop connector (internal thread) | Js | G 1/2" |
| Discharge and filling connector (internal thread) | Js | G 1/2" |
| Connector for installing the output regulator (internal thread) | Js | G 3/4" |
| A – total height of the boiler | [mm] | 969 |
| B – total depth of the boiler | [mm] | 820 |
| C – boiler width | [mm] | 635 |
| D – flue location | [mm] | 705 |
| E – location of the intake water mouthpiece | [mm] | 107.5 |
| F – location of the output water mouthpiece | [mm] | 792.5 |
| G – location of the output water mouthpiece in relation to the center axis | [mm] | 140 |
| H – depth of the boiler base | [mm] | 577 |
| Thickness of the walls of the boiler body (water/flame) | [mm] | 5 |
| Thickness of the walls of the boiler body (water) | [mm] | 3 |

Note

- Fuel consumption is directly dependent on the quality and type of the used fuel and also on keeping the internal heat-radiating areas of the boiler clean. The smaller are the used split wooden pieces, the greater output can be achieved, however, the burning time shortens. To the contrary, when we need a lower output, we can use bigger pieces of wood, which will prolong the burning time.

| Množství | 1 | 1 | 1 | 3 | 3 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Název dílu | Roštovací mechanismus | Posuvný rošt litinový | Šikmý rošt litinový | Šamotová tvarovka_II (30x275x400) | Šamotová tvarovka_I (30x100x400) | Šamotová tvarovka III (30x200x400) | Plech zatápěcí klapky | Táhlo zatápěcí klapky | Páka roštovacího mechanismu | Pant horního víka | Popelníková zásuvka | Regulátor tahu | Teploměr TCS 48 |
| Poz. | 19 | 22 | 23 | 24 | 25 | 26 | 28 | 29 | 31 | 33 | 34 | 42 | 43 |
| Množství | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Název dílu | Těleso kotle H425 EKO | Trubka sekundáru | Čistící uzávěra | MANOMETR MCS 48 | Kryt boční (levý) | Kryt přední | Zadní kryt | Kryt boční (pravý) | Popelníková dvířka | Růžicová rukojeť | Přikládací dvířka | Čistící dvířka | Horní kryt |
| Poz. | 4 | 2 | 3 | 4 | 6 | 7 | 8 | 9 | 11 | 14 | 15 | 17 | 18 |

Daiagram: DRAFT REGULATOR, MANOMETER, COOLING LOOP, THERMOMETER

Table:

| Position | Part name | Quantity | Position | Part name | Quantity |
| --- | --- | --- | --- | --- | --- |
| 4 | H425 EOK boiler body | 1 | 19 | Grate mechanism | 1 |
| 2 | Secondary pipe | 1 | 22 | Sliding cast-iron grate | 1 |
| 3 | Cleaning lid | 1 | 23 | Slanting cast-iron grate | 1 |
| 4 | Manometer MCS 48 | 1 | 24 | Fireclay fitting II (30x275x400) | 3 |
| 6 | Side cover (left) | 1 | 25 | Fireclay fitting I (30x100x400) | 3 |
| 7 | Front cover | 1 | 26 | Fireclay fitting III (30x200x400) | 1 |
| 8 | Rear cover | 1 | 28 | Plate of the fire-starting valve | 1 |
| 9 | Side cover (right) | 1 | 29 | Pin of the fire-starting valve | 1 |
| 11 | Ash door | 1 | 31 | Grate mechanism lever | 1 |
| 14 | Rose handle | 1 | 33 | Upper lid hinge | 2 |
| 15 | Stoking door | 1 | 34 | Ash drawer | 1 |
| 17 | Cleaning door | 1 | 42 | Draft regulator | 1 |
| 18 | Upper cover | 1 | 43 | Thermometer TCS 48 | 1 |

5. List of replaceable spare parts

List of spare parts			    Position of the spare part from page 8

- Stoking door						15

- Cleaning door						17

- Ash door						11

- Slanting cast-iron grate					23

- Sliding cast-iron grate					22

- Stoking valve plate / stoking valve pin			28, 29

- Cleaning lid						3

- Grate mechanisms					19

- Ash drawer						34

- Front cover						7

- Side cover (left, right)					6, 9

- Scraper and hook for cleaning boiler surfaces

- Broom (holder + steel brush)

- Manometer MSC 48					4

- Draft regulator for combustion air				42

- Filling / discharging valve

- Stoking door handle

- Secondary pipe	2

- Rear cover	8

- Rose handle	14

- Upper cover	18

- Lever of the grate mechanism	31

- Upper lid hinge	33

- Fireclay fitting I (30x100x400mm)	25

- Fireclay fitting II (30x275x400mm)	24

- Fireclay fitting III (30x200x400mm)	26

- Thermometer TSC 48	43

Note

- Soft wood can be used in the boiler as well (for example, spruce, pine, alder, etc.). However, if you use soft wood, the power output will be lower than stated by the manufacturer for hardwood.

6. List of supplied accessories

- Scraper and hook for cleaning boiler surfaces

- Broom (holder + steel brush)

- Filling valve

- Draft regulator for combustion air

- Manometer MCS 48, Thermometer TSC 48

- Security thermal valve TS 130 or STS 20 (not a part of the package)

- Lever of the grate mechanism

- Operating manual with a warranty sheet

- Cleaning lid

- Secondary pipe

- Plate of the fire-starting valve

- Pin of the  fire-starting valve with a ball

- Fireclay lining:

- Fireclay fitting I (30x100x400mm)… 3 pieces (position 2, 6 and7 on Picture E)

- Fireclay fitting II (30x275x400mm)… 3 pieces (position 1, 5 and 8 on Picture E )

- Fireclay fitting III (30x200x400mm)… 1 piece (position 4 on Picture E )

14)   Oven mitt for opening the stoking door

7. Assembly of basic accessories

a) Installing the stoking valve:

The stoking valve consists of three parts, plate of the stoking valve, pin of the stoking valve and a ball. Assemble these parts in accordance with Picture D:

Picture D

b) Installing fireclay lining and the secondary pipe:

Because the fireclay lining could get damaged during transportation, these fitting are delivered in a separate package. After the boiler is placed in its location and connected to the given system, insert the fireclay fittings in it in accordance with Picture E. Do so in the marked numerical order, i.e. 1, 2, 3 and so on. Insert the secondary pipe as third WITH THE HOLES FACING UP.  When you insert the last fitting, i.e. fitting number 8, push it against fitting number 7 in a way as to make sure they are touching each other with their edges. Be careful not to damage the fireclay fittings during installation.

Insert the fittings one by one in the appropriate numerical order, i.e. 1, 2, 3 and so on:

Picture E

8. Water heater operation

##### Prior to starting the fire for the first time, the following has to be done:

- Making sure that the boiler and the entire heating system is filled with water or some other heat-conducting medium and correctly deaerated.

- Making sure that the drafting routes are sealed.

- Making sure that the cleaning lid (No. 3) is correctly installed in order to prevent suction of false air into the area of the exchanger.

- If you are using brown coal as the fuel, set the secondary valves (Picture A) to the appropriate position. The same applies for wood - see (Picture B).

- Using a small chain, the draft regulator shall be connected to the valve on the stoking door. Prior to setting a fixed temperature, the valve can be half open.

8.1 Starting the fire

Making fire in the boiler is done in the same way like in a regular stove. Put paper on the grate through the upper door and add starting spills and several bigger wood pieces. Light the inserted load from the bottom (through the ash door) using a lit paper or fire starter (PEPO). Make sure the primary air valve on the ash door is set correctly (in accordance with the recommended setup showed on Picture B) and close it. Open the fire-starting valve (No. 28) by pushing the pin into the boiler. If the draft in the chimney is too low, close the secondary air intake openings on the sides of the boiler. When enough of the wood burns, gradually add more fuel but do not overload it, it could suffocate the fire. Continue in this process until the level of added fuel exceeds the bottom edge of the first partition. When that happens, you can add as much fuel as to fill the filling shaft up to such a height that will allow for correct closing of the stoking door. When the fuel catches on fire, close the stoking valve by pulling the pin on the rear wall of the boiler and open the secondary air intake openings on the sides of the boiler in accordance with the recommended setup.

8.2. Stoking and opening the ash doors

To prevent escaping smoke when opening the stoking door and adding fuel or inspecting fire, follow the following procedure:

Prior to stoking, close the air intake using the lid on the ash door and open the stoking door up to the height of 1 to 1.5 cm in the front part of the stoking door. Wait about 10 seconds until the burnt gases are exhausted and then close it completely. Add fuel and open the combustion air intake again. If the chimney draft is good or the filling shaft is full, you do not need to follow the above stated procedure.

Note:

Upon reaching the required temperature of the output water (for example, 80oC), release the chain on the holder of the regulator and set such a length that the valve is open only 2-3 mm. In this way, the regulator will maintain the required temperature of the boiler. We do not recommend setting the valve in a way that the suffocating lid on the stoking door is completely closed. The burning process would significantly worsen.

## 8.3 Ash removal

In order to secure good access of the combustion air for perfect burning, we need to remove the remaining parts of the fuel – ash from the grate. We can do so by rocking the lever that is installed on the side wall of the boiler. The rocking motion moves the grate and the ash falls through to the ash pit. If rough pieces of slag are created on the grate, we can remove it by rocking the lever even more while the boiler is in operation. This motion slides the cascade grate out and the rough remains of the fuel fell through to the ash pit. If the slag gets caught in the grate, shake it off by fast sliding of the lever.

Follow the same procedure for cleaning the boiler after heating is terminated. Make sure that ash is not collected in the area for the ash drawer; these remains could fell off outside of the ash drawer and prevent correct sliding of the drawer in. When the boiler is operating, use the lever with caution! It means that you should rock it only slightly, which should be enough for removing the burned fuel. Otherwise you are risking that all fuel could fall through to the ash pit.

## 8.4 Cleaning the water heater

In order to achieve the maximum possible economy and therefore efficiency of the boiler, you should properly clean the internal parts of the boiler body once every 3-5 days (depending on the intensity and quality of the used fuel. We can do that by vigorous scraping of the deposit from the walls using a scraper and steel brush, which form a part of the boiler accessories. WARNING! Conduct the cleaning only when the fire in the boiler is out.

Follow the following procedure for cleaning:

- Make sure that the ash drawer is in the ash pit area.

- Disassemble the cleaning door (17). Remove the big fireclay fitting (note 8, page 11) with the stoking valve (28). Using the hook, remove the cleaning lid (3), see diagram on page 8. The cleaning lid closes the area between the rear air hole of the partition and the ash drawer. Next, take out the fireclay lining with the secondary pipe from the boiler. Clean the pipe thoroughly. Using the scraper and the steel brush, scrape off ash and soot from the boiler walls. When you are done with the cleaning, put the cleaning lid (3) back and, using a portable lamp placed in the ash pit area, make sure that the cleaning lid is correctly set in.

- Using the same procedure in reverse, put back in the fireclay lining, secondary pipe, fireclay fitting (note 7, page 11), stoking valve (28) and fireclay lining (note 8, page 11). Close the cleaning door and tighten the butterfly nuts of the cleaning door.

- Clean the filling shaft in the front part of the boiler through the open stoking door.

- Close the stoking door and, using short, rocking moves, remove remaining slag and ash from the grate.

- Remove the ash drawer through the ash door, remove the content of the ash drawer, clean the area of the ash drawer from slag and ash, which fell outside of the ash drawer during cleaning or moving the grate, and close the ash door.

WARNING!!!

### 9. Maintaining the water heater and the heating apparatus

Prior to putting the heating apparatus into operation, fill the water system of the heating apparatus with water (soft water if possible). From time to time, inspect the water condition in the heating apparatus. Never overheat the boiler, i.e. do not exceed 90°C. Gentle bubbling in the boiler’s body with water temperature over 80°C does not represent any problem. If the boiler is slightly pulsing or vibrating, it is not a defect either. The reason of these movements is the fact that the boiler is burning fuel so well that it burns all oxygen, which it has available at the given moment, and it is lacking it. As a result of this process, explosive gases are collected under the first water plate. These gases begin to burn and that results in slight pulsing vibration. Moreover, it is important to make sure that the boiler is always deaerated and the overall system filled with water. If necessary, antifreeze liquid Friterm (www.velvana.cz) or anticorrosion inhibitor Inhikor II can be added to water in the water system.

Note:

Water hardness must comply with ČSN 07 7401. If it does not, it is necessary to treat the water appropriately in order to achieve the values from the following table:

| Recommended values |
| --- |
| Hardness | mmol/l | 1 |
| Ca2+ | mmol/l | 0.3 |
| Concentration of the total Fe + Mn | mg/l | (0.3)* |
| *) recommended value |  |  |

The user is obliged to use professional service for putting the boiler into operation, regular maintenance and repairs.

10. Safety instructions for the assembly and operation of the water heater

The boiler for solid fuels can be installed only by a company with a valid authorization to do so or persons authorized by our company (see the list of the service companies; the list is available from the company service technician). A project has to be prepared for the installation in accordance with the valid regulations. Here, we are stating a summary of the basic assembly conditions.

Prior to putting the boiler into operation, it has to be fully assembled (elements, which have to be installed after transporting the boiler, are stored in the ash pit as accessories of the boiler).

We recommend a professional inspection of the boiler to be conducted once a year, ideally before the heating season. The inspection should focus on correct installation of the exhaust, expansion reservoir, wear and tear of the grates, etc. The inspection should also inspect correct function of the cooling loop and draft regulator.

10.1 Assembly and setup of the draft regulator

In the rear part of the boiler, a ¾” mouthpiece is welded for installing the boiler’s draft regulator. Screw the shaft of the draft regulator into this mouthpiece (water resistant connection – pack it with the sealing cord). When the boiler is lit, set the draft regulator to at least 70 oC. When the temperature on the thermometer reaches 70 oC, check the position of the suffocating lid. It shall be slightly open – between 2-3 mm. This suffocating lid should never be completely closed.

If the opening of the suffocating lid does not correspond to the setup, extend or shorten the chain of the draft regulator.

Note:

10.2 Assembly of the discharge valve

At the rear bottom part of the boiler, a ½” mouthpiece is welded. Screw (and pack) the discharge valve into it. After you fill the system with water, this valve must be closed!

10.3 Connecting to the chimney

Recommended diameters of chimneys for central heating boilers – these data are only informational.

The boiler can be connected to a chimney only in accordance with ČSN 73 4201:2002 (Designing chimneys and flues).

Water heaters can be connected to a chimney only with consent by the appropriate chimney sweeper organization.

The boiler has to be connected to a separate chimney flue with a sufficient draft for all practically possible operational conditions. Warning! Chimney draft is always smaller during higher humidity, fog and when the chimney head is hot as a result of a long exposure to the sun.

The pipe outlet attached in the flue and installed to the smoke hub of the fuel appliance must be correctly assembled and installed in order to avoid random or spontaneous loosening. We recommend that the flue between the boiler and the chimney is not longer than 1 meter and that it should rise toward the chimney; the recommended slant is at least 5% (3°). We also recommend that it is attached directly - no more than one pipe elbow.

The water-heating system must be executed in accordance with ČSN 06 0310:2006 (Central Heating, Project Design and Assembly), ČSN 06 0830:2006 (Security Devices for Central Heating and Service Water Heating), ČSN 07 7401 (Water and Steam for Thermal Energy Devices with Steam Working Pressure up to 8 MPa, ČSN EN 303-5 (Boilers for Central Heating – Part 5: Boiler for Central Heating with Solid Fuels with Manual or Automatic Delivery and with Nominal Output up to 300 kW).

The boiler and the flue must comply with the following fire standards: ČSN 06 1008:1997 (Fire Safety of Thermal Devices), ČSN EN 13501-1:2007 (Fire Classification of Construction Products and Construction Structures - Part 1: Classification Based on the Fire Test Results). They can be installed in a safe distance of 400 mm from flammable substances. This safety distance has to be complied with even if the flammable class of the given flammable substance is not known.

The safety distance can be reduced by 50% if you use a non-flammable, thermally insulating, screening board of class A, at least 5 mm thick and placed 25 cm from the flammable substance (air insulation).

10.4 Sorting construction products and structures based on their reaction

to fire (pursuant to ČSN 73 4201, Article 4.5)

a) Non-flammable materials – they are safe from the fire perspective, i.e. they comply with the fire reaction class of A1 or A2 in accordance with ČSN EN 13 501-1.

b) Flammable materials – fire reaction class of B, C, D, E and F in accordance with ČN EN 13 501-1.

10.5 Water heater location – important warnings

The boiler must be installed in accordance with ČSN 33 2000-3:1995 in basic environment AA5/AB5.

Placing the boiler in living quarters is not allowed. In the room where the boiler is installed, intake of combustion air must be secured permanently.

The boiler must be installed in compliance with the requirements of ČSN 06 1008 – Fire Safety of Thermal Devices. Items made of flammable materials must not be placed on the boiler or closer to the boiler than the specified safe distance. The safe distance must be complied with even in the case of accessory subjects, fire starting material and fuel in the boiler room.

The boiler must be installed on a non-flammable, thermally insulating mat that overlaps the boiler on the side of the ash doors by at least 300 mm and by at least 100 mm on the other sides.

If there is a possibility of a temporary occurrence of flammable gases or vapors, or during works when a temporary fire hazard or explosion hazard could arise (for example, when pasting linoleum, PVC, etc.), the appliance must be shut down prior to the occurrence of such a fire hazard.

Boiler and fuel location in relation to the necessary handling area:

- A handling area in front of the boiler must be at least 1,000 mm;

- Minimal distance between the rear part of the boiler and the wall shall be 400 mm;

- An access of at least 400 mm to the rear part of the boiler shall be preserved at least on one side of the boiler;

- It is not allowed to store fuel behind the boiler or closer than 400 mm from the boiler;

- To store fuel in between two boilers in the boiler room is also not allowed;

- The manufacturer recommends to keep a distance between the boiler and fuel of at least 1,000 mm or to put fuel in a separate room.

10.6 Instructions for assembling and using pressurized expansion containers

1) The intake pipe leading to the expansion container shall be as short as possible without closures and with dilatation option. The expansion container must be placed in a location that prevents heating the container by radiating heat.

2) All heating systems must be designed in accordance with ČSN 06 0830 (Safety Devices for Central Heating and Service Water Heating) and equipped with at least one dependable safety valve, located on the output pipeline or the boiler, and a manometer. Location, assembly and diameter of the safety valves must comply with ČSN 06 0830.

3) When installing the safety valve, you have to inspect accuracy of its setup by applying excess pressure of 180 kPa, under which the safety valve has to open. If the setup of the safety valve is not done correctly, you have to do it again and verify it as well.

4) Assembly and setup of the safety valve, its testing and adjusting the gas pressure in the pressurized expansion container can be executed only by an authorized company. Prior to filling the system with water, you need to determine the pressure in the pressurized expansion container, provided it is higher than the hydrostatic height in the system.

5) The heat source has to be equipped, among others, in accordance with ČSN 06 0830 and ČSN EN 303-5; boilers for burning solid fuel shall be equipped with a draft regulator. The highest permitted working temperature is 90°C.

6) The pressurized expansion container and intake pipeline shall be protected against water freezing.

7) Adjust the value of the filling gas excess pressure in the expansion container by releasing the pressure to the value of the hydrostatic pressure of the cold system. The adjustment shall be executed using the auto-valve on the pressurized expansion container. The excess pressure is measured using a manometer for measuring tire pressure. By adding water, adjust the pressure to a value that is higher by 10 kPa, at the most, than the hydrostatic height in the system.

8) Once you fill the system with water, mark the adjusted hydrostatic height and maximum pressure in the system upon reaching water temperature of 90°C by drawing the appropriate lines on the manometer.

9) Shall the pressure difference marked by the lines on the manometer change during operation, i.e. the minimal or maximum pressure is exceeded, you need to inspect the system, deaerate it, add water to it in cold conditions or, if necessary, increase the gas pressure in the pressurized expansion container in accordance with the instructions of the manufacturer.

10) Each pressurized expansion container must be inspected at least once a year. Such an inspection shall include an inspection of the filling pressure.

11) An approved project shall be prepared and approved for each heating system and a device for exhausting excessive heat connected to it. Assembling and connecting the boiler shall be conducted in accordance with the above stated conditions.

12) If a correct pressurized expansion container is selected, the real pressure difference must not exceed 60 kPa for water temperature in the system between 10° and 90°C. This pressure difference can be tested during a heating test, when the water in the system is gradually heated from its cold condition. If the real pressure difference exceeds 60 kPa, the pressurized expansion container is incorrectly designed and a damage hazard of the boiler arises.

10.7 Connecting the water heater to a protection device against overheating

In accordance with ČSN EN 303-5 and Government Directive 26/2003 Coll., the H425 EKO boiler is equipped with a safety heat exchanger for exhausting excessive heat. This device secures the highest permitted water temperature in the boiler, i.e. 110°C, is not exceeded. This safety heat exchanger is designed as a flow water heater, controlled at its input by a safety discharge valve.

The connecting dimensions of the given mouthpieces allow for usage of two types of valves, either the TS 130 safety discharge valve with a doubled sensor from Honeywell or the STS 20 boiler overheating fuse from Watts. Our product is certified for both of these valves. The connection diagram is the same for both valves.

Warning:

Cooling loop connection:

Picture F

Operating principle: slide the safety valve sensor into the shaft in the upper rear part of the boiler where it monitors water temperature in the boiler. If the temperature reaches 95°C (TS 130) or 97°C (STS 20), the valve automatically begins to open and lets water into the built-in safety exchanger, which collects heat and prevents overheating of the boiler. When the water in the boiler cools down, the valve automatically begins to close until it completely stops the intake of cold water into the safety exchanger. This activity can be repeated several times – depends on the volume of fuel in the feeding shaft, respectively on the duration of a reduced consumption of heat by the heating system.

- the discharging safety valve needs to be always connected to the water input of the cooling loop in order to protect the cooling loop against permanent pressure of service water;

- if you do not comply with the recommended connection of the cooling loop to the boiler in accordance with the operating manual, the cooling loop could be exposed to excessive pressure and a leak could occur; the warranty does not apply to cooling loop damaged in the manner;

- in order for the valve to work properly, the valve shall be connected to a permanent source of cooling water with a pressure of at least 2 bars (ideally a public water main) and temperature of about 15°C;

- correct function of the valve shall be inspected at least once a year;

- if you are not sure how to connect the cooling loop, contact our serviceman at the following telephone numbers: 571 675 252 or 602 743 970.

10.8 Safety instructions for the water heater operation

From the perspective of operational safety and economy, the appliance shall be operated in accordance with the instructions stated in this manual.

The boiler can be left unsupervised under the condition that its output is set in a way as tome make sure the the system cannot overheat (limited operation) or if it is equipped with a functional and configured combustion air draft regulator. Nevertheless, the operating personnel shall inspect the boiler from time to time anyway.

ATTENTION!!! Under operation, some parts of the boiler (stoking, cleaning and ash doors, flue) can be hot and touching these parts may result in burning. That is why you need to use the protective oven mitt, which forms a part of the accessories.

The boiler can be operated only by adults acquainted with this manual.

Children shall not be left unsupervised nearby the appliance.

It is forbidden to use flammable liquids for starting fire in the appliance and to increase, in any manner whatsoever, the boiler’s nominal output during its operation (thermal overloading).

Users are allowed to conduct only common maintenance and, if necessary, to replace delivered spare parts. They are not allowed to interfere with the boiler structure, change its function or leave a damaged product in operation.

Warning:

Condensation and tarring of the boiler

Definitely during the first one but even during the consequent fire start-ups, you can experience an excessive condensation of the boiler; a dark liquid can appear in the ash pit area. This phenomenon is caused by a low water temperature in the boiler (below the dew point of 65°C) and low temperature of burnt gases. Condensation will stop after a partial deposition of the burnt gases on the walls and after the temperature exceeds 65°C. Condensation does not represent a leak in the product. Each boiler is carefully tested under excess pressure and the possibility of a leak is practically excluded.

Boiler tarring can happen under the following conditions:

- Low draft of the chimney. If the draft is permanently low, it can be corrected only by a structural adjustment. If the draft is low temporarily, it is caused by climatic conditions;

- Damped fuel;

- Permanent limited operation under low temperatures below the dew point of the burnt gases, i.e. 65°C;

- Incorrect dimensions of the boiler related to the thermal losses of the heated areas;

- Starting fire with a closed stoking valve;

- Unprofessional operation.

When burning wet or damp fuel, you may not reach the nominal output and the boiler is exposed to excessive pollution, condensation and tarring. This situation can cause significant economic losses that are demonstrated by increased fuel consumption and reduced lifespan of the boiler.

Warning:

Since the dew point of burnt gases is approximately 65 °C, the condensate occurs only if the temperature of burnt gases on the boiler walls drops under 65 °C. If condensation occurs in the stoking shaft, it means that the fuel is too damp. In this case, the condensate can drip into the ash pit area even if the water temperature in the boiler is higher than 65 °C.

Minimal recommended operational temperature is above 65 °C. If the temperature is lower, water steam can condensate in the burnt gases, which can have a negative impact on the correct operation of the boiler and its lifespan.

In order to secure safe and economic operation of the boiler, there are several important principles that you should comply with:

- Diligence of the operating personnel;

- Appropriate operational draft of the chimney;

- Clean boiler (flues and airways);

- Sealed boiler – duly installed and sealed cleaning, stoking and ash doors;

- Correct selection of the boiler output for the given heated area;

- Suitably dried fuel.

AVERAGE HUMIDITY OF WOOD IN %

| Drying time | Stored total length, free | Total length stored 3 months after cutting the trees down under a roof | 50-cm long logs, stored under a roof 3 months after their splitting | 50-cm long logs, stored under a roof immediately after their splitting |
| --- | --- | --- | --- | --- |
|  | G | K | G | K | G | K | G | K |
| O* | 75 | 78 | 76 | 78 | 75 | 78 | 73 | 76 |
| 3 months | 48 | 62 | 48 | 61 | 44 | 61 | 36 | 40 |
| 6 months | 37 | 46 | 32 | 45 | 29 | 35 | 25 | 29 |
| 9 months | 33 | 38 | 27 | 37 | 26 | 28 | 23 | 28 |
| 1 year | 36 | 35 | 26 | 33 | 25 | 27 | 24 | 27 |
| 1.5 year | 18 | 27 | 18 | 21 | 17 | 17 | 15 | 16 |
| 2 years | 16 | 24 | 16 | 17 | 16 | 14 | 14 | 13 |
| 2.5 years | 15 | 24 | 16 | 18 | 15 | 14 | 13 | 13 |

*Initial humidity	K- round timber	G - quarters

### 11. Waste management

Packaging materials (paper and wood) can be burned in the boiler. PP tape, unburned remains and ash shall be managed as communal waste.

When the lifespan of the boiler expires, liquidate its body and grates as metal waste. Insulation material shall be taken to an appropriate collection location.

The wooden laths are designed for one-time use and cannot be reused as such. Their removal is governed by Act No. 185/2001 Coll., on Waste and on changes of some other Acts, as amended. Used packaging material complies with the requirements for packages specified by Act No. 477/2001 Sb., on Packages and on changes of some other Acts, as amended.

### 12. Determining the size of the accumulation reservoir(

Formula for determining the minimal volume of the reservoir:

Vsp = 15 Tb x Qn (1-0.3 x (QH/Qmin))

Where:	Vsp ….. volume of the accumulation reservoir in l

Tb ...…. duration of burning in hours

Qn …… nominal thermal output in kW

QH …… thermal load of buildings in kW

Qmin … minimal thermal output in kW

Dimensions of the accumulation reservoir shall be determined based on the required output and used fuel. An accumulation reservoir is not necessary if the calculated volume is less than 300 liters.

13. Malfunction measures

Insufficient output of the boiler:

- Order a revision of your chimney form a professional company;

- Use specified fuel, humidity of which does not exceed the prescribed value;

- Make sure the cleaning door is sealed;

- Make sure the cleaning opening is closed using the cleaning lid;

- Inspect the position of the fire-starting valve;

- Make sure the flue is clean;

- Make sure that the condensation is not used by low water temperature in the boiler, i.e. being below the dew point of burnt gases of approximately 50°C;

- Clean the boiler.

A high water temperature in the boiler and, at the same time, a low water temperature in the heating bodies.

Water in the boiler is boiling:

- Big hydraulic resistance of the heating system, especially in the case of a self-loading system;

- Excessive draft in the chimney – reduce the draft;

- Clean the heating system by rinsing or, if necessary, install a circulation pump.

15. Safety and other regulations

ČSN 06 0310  -  Central Heating. Design and Assembly.

ČSN 06 0830  -  Safety Devices for Central Heating and Service Water Heating

ČSN 06 1008  -  Fire Safety of Local Appliances and Heat Sources (Water Heaters up to 50 kW)

ČSN 06 1610  -  Flue Parts of Home Appliances

ČSN 07 0245  -  How Water and Low Pressure Steam Boilers. Water Heaters up to 50 kW.

Technical requirements:

ČSN 07 7401  -  Water and Steam for Thermal Energy Devices with Operating Excess Pressure up to 8Mpa

ČSN EN 13 501-1+A1 – Classification of construction products and structures

Part 1: Classification in accordance with the Fire Reaction Tests.

ČSN 73 0831  -  Fire Safety of Constructions. Gathering Areas.

ČSN 73 4201  -  Chimneys and Flues. Designing, Implementing and Connecting Fuel Appliances.

ČSN 73 4210  -  Implementation of Chimneys and Flues and Connecting Fuel Appliances

ČSN EN 303-5 – Solid Fuel Boilers for Central Heating

163/2002 Coll.   -  Government Directive

26/2003 Coll.     -  Government Directive

185/2001 Coll.   -  Act on Waste

477/2001 Coll.   -  Act on Packaging

34/1996 Coll.     -  Act on Protecting Consumers

16.  warranty card

For Water Heater H 425 EKO

Manufacturer: OPOP, LLC, Valašské Meziříčí

Tel.: 571 675 589, fax: 571 611 225

Date of the expedition from the  factory:__________

Warranty conditions:

The user shall be obliged to have a professional service company to put the device into operation, to conduct regular maintenance and repairs. This warranty card includes quality and completeness certificate. The manufacturer confirms that the product has been inspected and that its design complies with the technical conditions and ČSN EN 303-5. We provide a quality and workmanship warranty for the boiler for the duration of 24 months from the date of its sale to the given consumer, however, 30 months, at the most, from the moment of releasing the product from production facility. Under the warranty conditions, we will correct all defects demonstrably caused by faulty material, faulty design or faulty production as soon as possible and at our own expense, provided that:

- The boiler is in normal technical conditions pursuant to the operating manual;

- The boiler is connected to a chimney flue in accordance with ČSN 73 4201:1989;

- The boiler has not been mechanically damaged by force (no unauthorized intervention has been conducted with the exception of interventions permitted in the operating manual);

- A chimney draft pursuant to ČSN 303-5 that corresponds to the value stated in this standard (Picture 2, page 26, based on the boiler type);

- The customer, when exercising his/her warranty claim, submits this, duly completed, warranty card;

- All instructions of the manufacturer for using pressurized expansion containers are fulfilled.

Note:

- If the consumer does not sell the product within the above stated warranty period, the consumer shall bear all responsibility for any defect of the product;

- Expenses related to the processing of the warranty claim shall be covered by the consumer;

- Insulation for the stoking door and the fireclay board are considered consumer products that cannot be covered by this warranty.

When reporting a defect, the customer shall be obliged to always submit this warranty card, state his/her exact address and circumstances, under which the defect has occurred. Our company shall decide about the manner and location of the necessary repair.

TK date:________________________                                 Sale date:______________________

Steel weldment – under normal conditions, we guarantee its seal for two years from the date of its release from the production facilities. We offer an above-the-standard warranty of 60 months if no pressurized expansion container has been used in the heating system and the given leak was caused by a poor-quality material or welding workmanship. The warranty shall not apply for defects caused by operating personnel. If the extended warranty is approved, we will deliver a new weldment via a parcel service or we will make it available for personal collection by the customer. If the faulty weldment is not returned to the production facilities within 30 days after sending and accepting the new weldment, the customer will be charged full amount of the cost, including the appropriate transportation expenses, of the new weldment.

A weldment replaced during the extended warranty period of 60 months is subject to a 24-month warranty from the date of its acceptance.

The boiler weldment is sprayed with black, water-based paint, which can result in its peeling. Peeling paint does not have an impact on the boiler function. The paint is burned off when the boiler is first put into operation.

Warranty claim procedure:

- Submit personally, by mail or via fax a confirmed warranty card with the appropriate payment receipt.

- Report your exact address and, if applicable, telephone number and state the circumstances, under which the defect occurred.

- A service technician of the manufacturer will notify the customer about the manner of how to proceed with the warranty claim:

- By sending the faulty part for replacement;

- If the procedure pursuant to Point a) is not possible, the manufacturer shall have the right to determine the manner, date and implementation of the given repair via its service technician or a contractual partner;

- The consumer shall be obliged to allow the manufacturer to conduct the repair in accordance with Point b);

- Shall the consumer not allow access for implementing the repair, the manufacturer shall consider this warranty claim concluded;

- If the given defect is not reparable, the consumer shall be entitled to the replacement of the faulty part;

- If the warranty claim is unfounded, i.e. the defect or leaking weldment is not confirmed  by the given service technician, the customer shall be charged for the expenses related to the inspection and for the corresponding travel expenses;

- If you need to accelerate the warranty claim process, please contact a service technician of the manufacturer at the following telephone numbers: 571 675 252 or 602 743 970.

- Shall the customer send, as a part of the warranty proceedings, significantly dirty boiler to the production facility, the production facility will clean it and the customer will be charged for expenses related to this cleaning.

Dear customer:

We are very happy you decided to purchase our product. This decision entitles you to a 10% discount on spare parts. In order to claim the above stated benefits, you need to complete the registration card and mail it to our address:

OPOP, LLC

Business Department

Zašovská 750

757 01 Valašské Meziříčí

Once we receive your completed form, we will mail you a Customer Card, which entitles you to the stated discount for spare parts from the manufacturer. When ordering any spare parts, you always have to state your Customer Card Number.

Thank you for your confidence in our products.

Cut along the dotted line and mail to our address

……………………………………………………………………………………

# 17. REGISTRATION CARD

First name………………………..	Product serial number…………………….

Last name…………………………	Seller…………………………………..

Street and street No.……………..	Product type……………………………….

City……………………………

Zip Code……………………………..

Telephone number (optional)…………………………

Email ……………………………

Signature………………………………………………

OPOP, LLC

Zašovská 750

757 01 Valašské Meziříčí

Bank contact:

Komerční Banka a.s., Account number: 1608851/0100

Business Identification Number: 47674105, Tax Identification Number: CZ 47674105

Telephone: Business Department: 571 675 589, Secretary: 571 611 250, Production: 571 675 405

Supplies: 571 675 114, Financial Department: 571 675 472

Fax: 571 611 225

# Footnotes

* The actual size of the accumulation reservoir must be determined by a project engineer.

( The actual size of the accumulation reservoir shall be determined by the given project engineer.

# Text boxes

8

7

4

6

3

5

2

1

Removed ash has to be put into non-flammable containers with a lid. Also, protective aids should be used and principles of personal safety observed.

The manufacturer recommends installing a suitable mixing device in the heating circle, especially when using a circulation pump, in order to make sure that the input temperature of the heated water in the boiler does not drop under 65°C.

The longer the burning period after grating, the smaller volume of secondary air is necessary, and vice versa.

Execute the assembly and connection in accordance with the stated diagram on page 20, Picture F, and with the manufacturer’s instructions. We do not recommend a different connection of a cooling loop.

Combustion air draft regulator

Safety valve sensor

Cooling   loop

Discharge of the cooling water

Mouthpiece for attaching a safety valve against overheating